|  | 武汉福鑫化工有限公司Wuhan Fortuna Chemical Co.,Ltd |
| --- | --- |

Address: Room 2015-2016,No.2 Building,Kaixin Mansion,No.107 Jinqiao Avenue,Wuhan,China.

Website: www.fortunachem.com   Tel：027-85767163,  027-59207850   E-mail: sales@fortunachem.com

CERTIFICATE OF ANALYSIS

| Products Name | CAS NO. | Batch No. |
| --- | --- | --- |
| Ovalbumin Egg | 9006-59-1 | 20231215 |
| Mfg. Date | Exp. Date | Package |
| Dec.,15,2023 | Dec., 14,2025 | 100g/Foil Bag |

| ITEMS | SPECIFICATIONS | RESULTS |
| --- | --- | --- |
| Appearance | Light yellow lyophilized powder | Conform |
| Solution Color | Colorless to light yellow | Conform |
| Turbidity(50mg/ml water) | Clear | Conform |
| Loss on Drying | ≤5% | Conform |
| Nitrogen content | 13～16% | Conform |
| Protein level | ＞85% | Conform |
| Conclusion | QUALIFIED. |  |

Q.C.: Luo Xiaofeng            Tester: AT02                 Re-tester: AT03